## Behavioural
BEHAVIOR PROJECTS
This is the section where all non physical projects are evaluated. This can include projects such as public events, energy workshops, visits to other project locations and acquiring tools such as Home Energy Kits. As the title suggests, these opportunities are about altering the communities' behaviours and attitudes towards energy efficiency , so that there is a collective shift towards more sustainable practices within the SEC
Project Type | Opportunity | Estimated Capital Cost (€) | Grant Stream | Percentage of capital cost covered by grant | Overview
Community Awareness | Energy Audit Programme | 15000 | SEAI Better Energy Communities Grant | 100% | A low/zero cost rolling energy audit programme for 10-15 commercial properties properties via a Voucher System. The SEC would identify a list of SME & public buildings suitable for energy audits. The SEC then submits a funding application to LEADER and/or SEAI so that they have an appropriate budget for the energy audits. The SEC then choose an Energy Auditor to carry out the assessments. Following this, the auditor provides a list of recommendations to the property owners on how to improve the energy efficiency of the site, which includes a briefing on costs, benefits & next steps to funding
| Arrange to borrow SEAI Home Energy Kits for use by schools | 500 | SEAI Better Energy Communities Grant | 100% | With the help of the SEC mentor, request SEAI to provide a number of Home Energy Kits to be circulated amongst interested parties. The opportunity of colloborating with local schools to provide Home Energy Kits to students would allow young people to reinforce positive energy habits within their homes.
Public events | SEAI or expert presentation on grants suitable for SMEs | 500 | County Council | 100% | With the help of your SEC Mentor establish a physical grant calendar and database for SEAI, County council, EPA, Teagasc, EU funds, University programmes, etc. Ask energy expert stakeholder group to contribute some time and materials to provide a detailed workshop for SMEs to identify potential energy projects which are appropriate for grant funding.
| Energy clinic by technical experts to help attendees understand their energy bills, energy switching | 500 | SEAI Better Energy Communities Grant | 100% | With the help of the SEC Mentor establish a set of materials on the supports available from SEAI, County council and social housing providers. Publicise the event, drive attendance and ask SEAI or private sector housing retrofit experts to speak at Energy clinic. The aim of the Energy clinic is to help attendees understand their energy bills and energy switching.
| SEAI or expert presentation on grants suitable for homeowners | 500 | SEAI Better Energy Communities Grant | 100% | Free to attend householder workshop providing guidance on available supports for low carbon projects. With the help of the SEC Mentor establish a set of materials on the supports available from SEAI, county council and social housing providers. Publicise event, drive attendance and secure SEAI or private sector housing retrofit experts to speak to homeowners.

## Energy Efficiency
ENERGY EFFICIENCY PROJECTS
This section focuses on energy efficiency projects. These can include projects such as insulation, windows, energy monitoring equipment, LED lights, street lighting and other measures. A summary of the energy efficiency opporunities for the non-domestic buildings and Bettystown community which we believe have the most potential are listed in the Table below. For further detail and commentary on each of the projects, please see the individual non-domestic reports
Location | Opportunity | Comments | Energy saved (kWh/yr) | Energy savings (€/yr) | CO2 savings (CO2e/kg/yr) | Estimated Capital Cost (€) | Grant Stream | Percentage of capital cost covered by grant | Simple Payback Period including grant (yr)
Reddans B & B | Thermostatic Radiator Valves (TRVs) | An energy monitoring device can provide information on where energy is being consumed within the building which in turn can lead to more targeted interventions. This can also be used as a tool to analyse the energy use that students in the school use in their home life. | 14699 | 4262 | 7099.617 | 1000 | SEAI Better Energy Communities Grant | 30% | 1 year
Scoil Oilibheir Naofa | LED Lighting | A significant portion of lighting at the club is provided by fluorescent tubes. All lighting across the site should be upgraded to LED light fittings. This can be completed by the gradual process of replacing fittings as they fail, or via a one-off capital purchase or potentially via a 5/10 year lease offered by several Light as a Service providers. | Contact Contractor for cost estimate and kW savings |  |  |  | SEAI Better Energy Communities Grant | 50%
| Energy Monitoring Device | An energy monitoring device can provide information on where energy is being consumed within the building which in turn can lead to more targeted interventions. This can also be used as a tool to analyse the energy use that students in the school use in their home life. | 8465 | 2454.85 | 4088.595 | 1000 | SEAI Better Energy Communities Grant | 30% | 1 year | 3-4 years
Bettystown Community | Retrofit of houses identified in domestic audits | Homeowners who had BER surveys carried out on their homes as part of the domestic audits in the EMP are eligible for grant support to carry out retrofit works suggested by the BER Auditor. Grant allowances vary depending on income levels - Private residencies can gain a grant of up to 35%, fuel poor can gain a grant of up to 80% | see audit reports | see audit reports | see audit reports | see audit reports | LEAF (Details TBA by SEAI early 2022) | 35-80% | see audit reports
| Energy Audit Scheme for SME's | A zero cost rolling energy audit scheme for commercial properties properties via a Voucher System. SME's that spend at least €10,000 on energy per year are eligible for an in-depth energy audit which aim's to help businesses understand: - How much energy your business uses - The equipment and processes that use the most energy -What actions businesses should take to save energy, their estimated cost and impact and suitability for renewable energy | Varies | Varies | Varies | 2000 | SSEA Energy Audit Scheme | 100% | Varies
Totals

## Renewable Projects
RENEWABLE ENERGY PROJECTS
This is the location where all renewable energy projects are evaluated. This can include solar panels, heatpumps, wind energy, biomass boilers and other projects which produce heat or power from low carbon sources. A summary of the renewable energy opportunities for the non-domestic buildings and Bettystown community which we believe have the most potential are listed in the Table below. For further detail and commentary on each of the projects, please see the Appendices or individual non-domestic reports
Location | Opportunity | Comments | Energy saved (kWh/yr) | Energy savings (€/yr) | CO2 savings (CO2e/kg/yr) | Estimated Capital Cost (€) | Grant Stream | Maximum percentage of capital cost covered by grant | Simple Payback Period including grant (yr)
Reddans B&B | Solar photovoltaic (PV) panels | Consider installing solar PV panels on the south facing roof. Solar panels will produce electricity during daylight hours, which will offset your electricity use. If any excess is produced it will be exported to the grid for free, alternatively it can be diverted to heat water or to battery storage. A 6kWp system would be appropriate here. A simple 6kWp system, consisting of 18 panels, a DC to AC inverter and no battery, would be appropriate. The utilisation of PV for the generation of electricity to power the floodlights would require the provision of significant battery storage which would be charged during daylight hours and discharged at night. The use of PV for offsetting electrical consumption should only be considered when the equipment within the building and floodlighting has been upgraded to the optimum energy efficiency technologies. | 5155 | 1443 | 2490 | 7500 | SEAI’s Better Energy Communities | 50% | 5 if all energy is consumed on site.
Scoil Oilibheir Naofa |  |  | "" | "" | "" | "" | "" | "" | ""
Bettystown Community | Community EV Charging Point | An Electric Vehicle Charging point could be installed to encourage the uptake of Electric Vehicles within the community. It is expected that the chargers installed will comprise primarily charging posts and lamppost chargers. Charging posts typical supply AC power at 230V via two plug sockets each supplying 22kW of power. | N/A | N/A | N/A | €30000 (including installation costs) Can be provided by private sector companies such as EasyGo. | SEAI Electric Vehicle Public Charge Point Scheme | 75% (Solely for capital cost of EV Charging point, excludes installation costs) | N/A
| Feasibility study for a Renewable Energy Support Scheme (RESS) community power project | RESS aims to promote the generation of electricity from renewable sources by providing financial support to community based renewable electricity projects in Ireland. This commonly takes the form of a Solar or Wind project where the community bids to sell the electricity generated by their project back to the grid, whilst simultaneously helping to contribute to renewable electricity generation | Feasibility Study Required |  |  | 15000 | LEADER | Up to 90% with a Maximum grant of €30000 | N/A
| Community electric bike scheme | A community Electric, or 'e-bike' scheme could be set up to encourage the active travel within the SEC and bring about a shift away for carbon intensive forms of travel. This would entail having a number of e-bikes available to rent at a specific site within the SEC, which are charged using renewable energy - possibly through a community owned PV project | Feasibility Study Required |  |  | 10000 | SEAI / County Council / LEADER | 75%
| Upgrading community lamposts to LED lighting | Upgrading all lamppost lights in the SEC catchment area to energy efficient LED light bulbs so as to reduce the Carbon footprint of the community and reduce light pollution. To apply for funding this would likely have to be taken on as part of a group of projects through the Better Energy Communities grant scheme. | Public Lighting Survey Required by Local Authority |  |  |  |  | Lighting upgrades carried out by Local Authority
Totals
Please note that budget costs for the projects above are indicative only; investment decisions should be made based on appropriate design and specifications of relevant measures, and quotations should be sought from qualified solution providers.

## Useful Links
Grant Stream | Link to | Comment
SEAI Support Scheme for Renewable Heat (SSRH) | https://www.seai.ie/business-and-public-sector/business-grants-and-supports/support-scheme-renewable-heat/ | The Support Scheme for Renewable Heat offers grant to support investment in renewable heating systems that use: Air source heat pumps, Ground source, heat pumps, Water source heat pumps. Furthermore, the scheme offers a ongoing tariff based on useable output in renewable heating systems (Biomass boiler, biogas boiler) over 15 years
SEAI’s Better Energy Communities | https://www.seai.ie/grants/community-grants/project-criteria-and-funding/ | Better Energy Communities grants come about as the result of a SEC's submission of a number of projects, not just a one off project. Therefore any of the opportunities listed within this report that have Better Energy Communities as a potential grant stream couldn't be submitted on their own. All projects should be submitted as part of a consolidated application and should cost less than €220k
SEAI Electric Vehicle Public Charge Point Scheme | https://www.seai.ie/grants/electric-vehicle-grants/public-charge-point/ | Grant currently only applies for 22kW charging points
LEADER | https://477341-1500199-raikfcquaxqncofqfm.stackpathdns.com/wp-content/uploads/2019/05/57328-NRN-LEADER-Application-leaflet-Web-Version.pdf | The Department of Rural and Community Development (DRCD) is the overall managing authority for LEADER in Ireland. However, decisions on LEADER funding applications are made at a local level by a network of 29 Local Action Groups (LAGs). They approve applications that align with the objectives of their Local Development Strategy and the three underpinning themes of the LEADER programme: - Economic Development, Enterprise Development and Job Creation - Social inclusion - Rural Environment
SSEA Energy Audit Scheme | https://www.seai.ie/blog/support-for-energy-audits/ | We advise that larger businesses with a higher on average energy spend utilize this grant stream